## Sheet1
Measurement #1 - linear
Electrical Parameters | [5 empty] | Signal Characteristics
Re | 0.25417 | Ohm | electrical voice coil resistance at DC |  |  | Voltage
Le | 0.27569 | mH | frequency independent part of voice coil inductance |  |  | U pp | 1:01 | V | peak to peak value of voltage at terminals
L2 | 0.4 | mH | para-inductance of voice coil |  |  | U ac | 0:14 | V rms | AC part of voltage signal
R2 | 3:19 | Ohm | electrical resistance due to eddy current losses |  |  | U dc | -0.00 | V
Cmes | 316:02 | �F | electrical capacitance representing moving mass |  |  | U head | 54:03 | dB | digital headroom of voltage signal
Lces | 34:33 | mH | electrical inductance representing driver compliance |  |  | U SNR+D | 39:04 | dB | ratio of signal to noise+distortion in voltage signal
Res | 28:54 | Ohm | resistance due to mechanical losses |  |  | fu noise | 139:02 | Hz | frequency of noise+distortion maximum in voltage signal
fs | 48:03 | Hz | driver resonance frequency |  |  | gain | 7:44 |  | Amplifier gain measured
Mechanical Parameters | [5 empty] | Current
(using laser) | [5 empty] | I pp | 0:12 | A | peak to peak value of current at terminals
Mms | 13168 | g | mechanical mass of driver diaphragm assembly including air load and voice coil |  |  | I ac | 0:02 | A rms | AC part of current signal
Mmd (Sd) | Sd missing | g | mechanical mass of voice coil and diaphragm without air load |  |  | I dc | -0.00 | A
Rms | 1460 | kg/s | mechanical resistance of total-driver losses |  |  | I head | 59:04 | dB | digital headroom of current signal
Cms | 0.57222 | mm/N | mechanical compliance of driver suspension |  |  | I SNR+D | 31:02 | dB | ratio of signal to noise+distortion in current signal
Kms | 1:21 | N/mm | mechanical stiffness of driver suspension |  |  | fi noise | 61:05 | Hz | frequency of noise+distortion maximum in current signal
Bl | 6455 | N/A | force factor (Bl product)
Lambda s | 0.043 |  | suspension creep factor |  |  | Displacement
[6 empty] | X pp | 0:26 | mm | peak to peak value of displacement signal
Loss factors | [5 empty] | X ac | 0:05 | mm rms | AC part of displacement signal
Qtp | 0.31528 |  | total Q-factor considering all losses |  |  | X dc | 0:20 | mm
Qms | 2738 |  | mechanical Q-factor of driver in free air considering Rms only |  |  | X head | 50:09 | dB | digital headroom of displacement signal
Qes | 0.37708 |  | electrical Q-factor of driver in free air considering Re only |  |  | X SNR+D | 26:08 | dB | ratio of signal to noise+distortion in displacement signal
Qts | 0.31458 |  | total Q-factor considering Re and Rms only |  |  | fx cutoff | 313:05 | Hz | frequency of highest valid line in displacement signal
Other Parameters | [5 empty] | SPL
Vas | Sd missing | l | equivalent air volume of suspension |  |  | p pp |  | mV | peak to peak value of microphone signal
n0 | Sd missing | % | reference efficiency (2 pi-radiation using Re) |  |  | p ac |  | mV rms | AC part of microphone signal
Lm | Sd missing | dB | characteristic sound pressure level (SPL at 1m for 1W @ Re) |  |  | p head |  | dB | digital headroom of microphone signal
Lnom | Sd missing | dB | nominal sensitivity (SPL at 1m for 1W @ Zn) |  |  | p sum level |  | dB | sum level of microphone signal
[6 empty] | p mean level |  | dB | mean level of microphone signal
rmse Z | 3:29 | % | root-mean-square fitting error of driver impedance Z(f)
rmse Hx | 0.1375 | % | root-mean-square fitting error of transfer function Hx (f) |  |  | Measurement
[6 empty] | f sample | 6000 | Hz | sample frequency
Series resistor | 0:00 | Ohm | resistance of series resistor |  |  | N stim | 4096 | samples | stimulus length
Sd | missing | cm� | diaphragm area |  |  | cal x laser | 0.108731 |  | Laser calibration factor
Measurement #2 - high level
Electrical Parameters | [5 empty] | Voltage
Re | 0.25764 | Ohm | electrical voice coil resistance at DC |  |  | U pp | 0.30972 | V | peak to peak value of voltage at terminals
Le | 0.28194 | mH | frequency independent part of voice coil inductance |  |  | U ac | 0.067361 | V rms | AC part of voltage signal
L2 | 0.39097 | mH | para-inductance of voice coil |  |  | U dc | 0:00 | V
R2 | 3:26 | Ohm | electrical resistance due to eddy current losses |  |  | U head | 37:07 | dB | digital headroom of voltage signal
Cmes | 345.94 | �F | electrical capacitance representing moving mass |  |  | U SNR+D | 47:04 | dB | ratio of signal to noise+distortion in voltage signal
Lces | 40:12 | mH | electrical inductance representing driver compliance |  |  | fu noise | 139:02 | Hz | frequency of noise+distortion maximum in voltage signal
Res | 27:05 | Ohm | resistance due to mechanical losses |  |  | gain | 7:45 |  | Amplifier gain measured
fs | 42:07 | Hz | driver resonance frequency
Current
Mechanical Parameters | [5 empty] | I pp | 0.056944 | A | peak to peak value of current at terminals
(using laser) | [5 empty] | I ac | 0:12 | A rms | AC part of current signal
Mms | 16231 | g | mechanical mass of driver diaphragm assembly including air load and voice coil |  |  | I dc | -0.00 | A
Mmd (Sd) | Sd missing | g | mechanical mass of voice coil and diaphragm without air load |  |  | I head | 42:07 | dB | digital headroom of current signal
Rms | 1734 | kg/s | mechanical resistance of total-driver losses |  |  | I SNR+D | 23:04 | dB | ratio of signal to noise+distortion in current signal
Cms | 0.59375 | mm/N | mechanical compliance of driver suspension |  |  | fi noise | 67:04 | Hz | frequency of noise+distortion maximum in current signal
Kms | 1:17 | N/mm | mechanical stiffness of driver suspension
Bl | 6850 | N/A | force factor (Bl product) |  |  | Displacement
Lambda s | 0.10486 |  | suspension creep factor |  |  | X pp | 0.10486 | mm | peak to peak value of displacement signal
[6 empty] | X ac | 0:36 | mm rms | AC part of displacement signal
Loss factors | [5 empty] | X dc | -0.08 | mm
Qtp | 0.30417 |  | total Q-factor considering all losses |  |  | X head | 39:02 | dB | digital headroom of displacement signal
Qms | 2512 |  | mechanical Q-factor of driver in free air considering Rms only |  |  | X SNR+D | 20:06 | dB | ratio of signal to noise+distortion in displacement signal
Qes | 0.36806 |  | electrical Q-factor of driver in free air considering Re only |  |  | fx cutoff | 542:00 | Hz | frequency of highest valid line in displacement signal
Qts | 0.30417 |  | total Q-factor considering Re and Rms only
SPL
Other Parameters | [5 empty] | p pp |  | mV | peak to peak value of microphone signal
Vas | Sd missing | l | equivalent air volume of suspension |  |  | p ac |  | mV rms | AC part of microphone signal
n0 | Sd missing | % | reference efficiency (2 pi-radiation using Re) |  |  | p head |  | dB | digital headroom of microphone signal
Lm | Sd missing | dB | characteristic sound pressure level (SPL at 1m for 1W @ Re) |  |  | p sum level |  | dB | sum level of microphone signal
Lnom | Sd missing | dB | nominal sensitivity (SPL at 1m for 1W @ Zn) |  |  | p mean level |  | dB | mean level of microphone signal
rmse Z | 0.50139 | % | root-mean-square fitting error of driver impedance Z(f) |  |  | Measurement
rmse Hx | 0.31597 | % | root-mean-square fitting error of transfer function Hx (f) |  |  | f sample | 6000 | Hz | sample frequency
[6 empty] | N stim | 4096 | samples | stimulus length
Series resistor | 0:00 | Ohm | resistance of series resistor |  |  | cal x laser | 0.108731 |  | Laser calibration factor
Sd | missing | cm� | diaphragm area
Measurement #3 - non-linear - order 4
Note: |  |  |  |  | for accurate small signal parameters, use LPM module |  |  | Start Date | 2026-01-09
Delta Tv = Tv-Ta | 15 | 0 | 0 | K | increase of voice coil temperature during the measurement |  |  | Start Time | 10:53
Xprot | 2:08 | 2:08 | 0:03 | mm | maximal voice coil excursion (limited by protection system) |  |  | Serial number | 227
[8 empty] | Mode | Nonlinear Mode 5(7)
Re (Tv) | 0.27569 | 0.25417 | 0.25417 | Ohm | (imported) voice coil resistance considering increase of voice coil temperature Tv |  |  | Record | 485/485
Le (X=0) | 0:47 | 0:47 | 0:45 | mH | voice coil inductance at the rest position of the voice coil |  |  | Laser | signal reliable
L2 (X=0) | 0:46 | 0:46 | 0:49 | mH | para-inductance at the rest position due to the effect of eddy current |  |  | t | 0:13 | h:min:s | measurement time
R2 (X=0) | 2:24 | 2:24 | 2:10 | Ohm | resistance at the rest position due to eddy currents |  |  | Time remaining | 0:00 | h:min:s | recalculated at thermal mode(a)
Cmes (X=0) | 331 | 331 | 336 | �F | electrical capacitance representing moving mass
Lces (X=0) | 54:36 | 54:36 | 34.75 | mH | electrical inductance at the rest position representing driver compliance |  |  | Ei (t) | 2:07 | % | error current measurement
Res (X=0) | 24.86 | 24.86 | 19:03 | Ohm | resistance at the rest position due to mechanical losses |  |  | Ex (t) | 0:09 | % | error laser measurement
[8 empty] | Eu (t) | 5:00 | % | error amplifier check
Qms (X=0, Tv) | 0.10694 | 0.10694 | 0.10208 |  | mechanical Q-factor considering Rms only
Qes (Tv) | 0:44 | 0:42 | 0:52 |  | electrical Q-factor considering Re (Tv) only |  |  | Delta Tv (Delta Tlim) | 14.7 (60.0) | K | increase of voice coil temperature (limit)
Qts (X=0, Tv) | 0:36 | 0:35 | 0:41 |  | total Q-factor considering Re (Tv) and Rms only |  |  | Blmin (Bllim) | 95.1 (60.0) | % | minimal force factor ratio (limit)
fs | 37:05 | 37:05 | 46:06 | Hz | driver resonance frequency |  |  | Cmin (Clim) | 50.4 (50.0) | % | minimal compliance ratio (limit)
[8 empty] | P (Plim) | 1.0616 (50.000) | W | real electrical input power (limit)
Mms | 13168 | 13168 | 13168 | g | (imported) mechanical mass of driver diaphragm assembly including voice-coil and air load |  |  | Lmin | 89:01 | % | minimal inductance ratio
Rms (X=0) | 1601 | 1601 | 2059 | kg/s | mechanical resistance of total-driver losses |  |  | Pn |  | W | IMPORT Zn at Driver page to see nominal electrical input power
Cms (X=0) | 1:37 | 1:37 | 0.061806 | mm/N | mechanical compliance of driver suspension at the rest position |  |  | P Re | 0.918440 | W | Power heating voice coil
Kms (X=0) | 0.050694 | 0.050694 | 1:13 | N/mm | mechanical stiffness of driver suspension at the rest position |  |  | P Mech | 0.126600 | W | ....
Bl (X=0) | 6:46 | 6:46 | 6:46 | N/A | (imported) force factor at the rest position (Bl product) |  |  | Irms | 0.27222 | A | rms value of the electrical input current
Sd | n/a |  |  |  | IMPORT Sd at Driver page to display Vas, N0, and Lm |  |  | Urms | 3087 | V | rms value of the electrical voltage at the transducer terminals
[8 empty] | Ipeak | 1247 | A | peak value of the electrical input current
[8 empty] | Upeak | 10238 | V | peak value of the electrical voltage at the transducer terminals
[8 empty] | Glarge (Gmax) | 18.8 (26.0) | dB | gain of the excitation amplitude increased in the large signal domain (maximum)
[8 empty] | Mech. system |  | abs. | import used to identify mechanical system in absolute quantities
[8 empty] | Xdc | 0:16 | mm | dc component of voice coil excursion measured in the last update intervall
[8 empty] | Xpeak | 3:21 | mm | positive peak value of voice coil excursion measured in the last update intervall
[8 empty] | Xbottom | -2.73 | mm | negative peak value (bottom) of voice coil excursion measured in the last update intervall
[8 empty] | Xp+ | 2:06 | mm | upper limit of displacement range (99% probability)
[8 empty] | Xp- | -2.3 | mm | lower limit of displacement range (99% probability)
[8 empty] | Xprot | 2:08 | mm | maximal voice coil excursion allowed by protection system
[8 empty] | v rms | 0:21 | m/s | voice coil velocity
Distortion
[8 empty] | Db | 2:09 | % | distortion factors representing contribution of nonlinear force factor
[8 empty] | Dl | 4:06 | % | distortion factor representing contribution of nonlinear inductance
[8 empty] | Dc | 7:03 | % | distortion factor representing contribution of nonlinear compliance
[8 empty] | D l(i) | 0:04 | % | distortion factor representing contribution of L(I) nonlinearity
Thermal
[8 empty] | R th total | 16:00 | K/W | Delta Tv / P Re
Measurement #4 - linear HOT
Electrical Parameters | [7 empty] | Voltage
Re | 0.25694 | Ohm | electrical voice coil resistance at DC |  |  |  |  | U pp | 1:02 | V | peak to peak value of voltage at terminals
Le | 0.27639 | mH | frequency independent part of voice coil inductance |  |  |  |  | U ac | 0:14 | V rms | AC part of voltage signal
L2 | 0.39583 | mH | para-inductance of voice coil |  |  |  |  | U dc | 0:00 | V
R2 | 3:19 | Ohm | electrical resistance due to eddy current losses |  |  |  |  | U head | 54:03 | dB | digital headroom of voltage signal
Cmes | 315:57 | �F | electrical capacitance representing moving mass |  |  |  |  | U SNR+D | 38:03 | dB | ratio of signal to noise+distortion in voltage signal
Lces | 36.84 | mH | electrical inductance representing driver compliance |  |  |  |  | fu noise | 139:02 | Hz | frequency of noise+distortion maximum in voltage signal
Res | 28.61 | Ohm | resistance due to mechanical losses |  |  |  |  | gain | 7:45 |  | Amplifier gain measured
fs | 46:07 | Hz | driver resonance frequency
Current
Mechanical Parameters | [7 empty] | I pp | 0:12 | A | peak to peak value of current at terminals
(using laser) | [7 empty] | I ac | 0:02 | A rms | AC part of current signal
Mms | 12917 | g | mechanical mass of driver diaphragm assembly including air load and voice coil |  |  |  |  | I dc | -0.00 | A
Mmd (Sd) | Sd missing | g | mechanical mass of voice coil and diaphragm without air load |  |  |  |  | I head | 59:04 | dB | digital headroom of current signal
Rms | 1431 | kg/s | mechanical resistance of total-driver losses |  |  |  |  | I SNR+D | 33:06 | dB | ratio of signal to noise+distortion in current signal
Cms | 0.625 | mm/N | mechanical compliance of driver suspension |  |  |  |  | fi noise | 67:04 | Hz | frequency of noise+distortion maximum in current signal
Kms | 1:11 | N/mm | mechanical stiffness of driver suspension
Bl | 6398 | N/A | force factor (Bl product) |  |  |  |  | Displacement
Lambda s | 0.052 |  | suspension creep factor |  |  |  |  | X pp | 0:27 | mm | peak to peak value of displacement signal
[8 empty] | X ac | 0:05 | mm rms | AC part of displacement signal
Loss factors | [7 empty] | X dc | 0:12 | mm
Qtp | 0.30556 |  | total Q-factor considering all losses |  |  |  |  | X head | 53:02 | dB | digital headroom of displacement signal
Qms | 2647 |  | mechanical Q-factor of driver in free air considering Rms only |  |  |  |  | X SNR+D | 26:01 | dB | ratio of signal to noise+distortion in displacement signal
Qes | 0.36597 |  | electrical Q-factor of driver in free air considering Re only |  |  |  |  | fx cutoff | 313:05 | Hz | frequency of highest valid line in displacement signal
Qts | 0.30556 |  | total Q-factor considering Re and Rms only
SPL
Other Parameters | [7 empty] | p pp |  | mV | peak to peak value of microphone signal
Vas | Sd missing | l | equivalent air volume of suspension |  |  |  |  | p ac |  | mV rms | AC part of microphone signal
n0 | Sd missing | % | reference efficiency (2 pi-radiation using Re) |  |  |  |  | p head |  | dB | digital headroom of microphone signal
Lm | Sd missing | dB | characteristic sound pressure level (SPL at 1m for 1W @ Re) |  |  |  |  | p sum level |  | dB | sum level of microphone signal
Lnom | Sd missing | dB | nominal sensitivity (SPL at 1m for 1W @ Zn) |  |  |  |  | p mean level |  | dB | mean level of microphone signal
rmse Z | 3:39 | % | root-mean-square fitting error of driver impedance Z(f) |  |  |  |  | Measurement
rmse Hx | 2:52 | % | root-mean-square fitting error of transfer function Hx (f) |  |  |  |  | f sample | 6000 | Hz | sample frequency
[8 empty] | N stim | 4096 | samples | stimulus length
Series resistor | 0:00 | Ohm | resistance of series resistor |  |  |  |  | cal x laser | 0.108731 |  | Laser calibration factor
Sd | missing | cm� | diaphragm area
Measurement #5 - non-linear order 8
Note: |  |  |  |  | for accurate small signal parameters, use LPM module |  |  |  | Start Date | 2026-01-09
Delta Tv = Tv-Ta | 8 | 0 | 0 | K | increase of voice coil temperature during the measurement |  |  |  | Start Time | 11:17
Xprot | 2:07 | 2:07 | 0:03 | mm | maximal voice coil excursion (limited by protection system) |  |  |  | Serial number | 227
[9 empty] | Mode | Nonlinear Mode 5(7)
Re (Tv) | 0.26597 | 0.25417 | 0.25417 | Ohm | (imported) voice coil resistance considering increase of voice coil temperature Tv |  |  |  | Record | 503/503
Le (X=0) | 0:47 | 0:47 | 0:46 | mH | voice coil inductance at the rest position of the voice coil |  |  |  | Laser | signal reliable
L2 (X=0) | 0:48 | 0:48 | 0:46 | mH | para-inductance at the rest position due to the effect of eddy current |  |  |  | t | 0:13 | h:min:s | measurement time
R2 (X=0) | 2:23 | 2:23 | 2:16 | Ohm | resistance at the rest position due to eddy currents |  |  |  | Time remaining | 0:00 | h:min:s | recalculated at thermal mode(a)
Cmes (X=0) | 329 | 329 | 346 | �F | electrical capacitance representing moving mass
Lces (X=0) | 57:08 | 57:08 | 35.71 | mH | electrical inductance at the rest position representing driver compliance |  |  |  | Ei (t) | 3:03 | % | error current measurement
Res (X=0) | 25.86 | 25.86 | 18:20 | Ohm | resistance at the rest position due to mechanical losses |  |  |  | Ex (t) | 2:00 | % | error laser measurement
[9 empty] | Eu (t) | 5:00 | % | error amplifier check
Qms (X=0, Tv) | 0.10833 | 0.10833 | 0.096528 |  | mechanical Q-factor considering Rms only
Qes (Tv) | 0:43 | 0:41 | 0:51 |  | electrical Q-factor considering Re (Tv) only |  |  |  | Delta Tv (Delta Tlim) | 8.3 (60.0) | K | increase of voice coil temperature (limit)
Qts (X=0, Tv) | 0:35 | 0:34 | 0:40 |  | total Q-factor considering Re (Tv) and Rms only |  |  |  | Blmin (Bllim) | 96.5 (60.0) | % | minimal force factor ratio (limit)
fs | 36:08 | 36:08 | 45:03 | Hz | driver resonance frequency |  |  |  | Cmin (Clim) | 50.6 (50.0) | % | minimal compliance ratio (limit)
[9 empty] | P (Plim) | 1.0964 (50.000) | W | real electrical input power (limit)
Mms | 13168 | 13168 | 13168 | g | (imported) mechanical mass of driver diaphragm assembly including voice-coil and air load |  |  |  | Lmin | 90:08 | % | minimal inductance ratio
Rms (X=0) | 1550 | 1550 | 2090 | kg/s | mechanical resistance of total-driver losses |  |  |  | Pn |  | W | IMPORT Zn at Driver page to see nominal electrical input power
Cms (X=0) | 1:42 | 1:42 | 0.065278 | mm/N | mechanical compliance of driver suspension at the rest position |  |  |  | P Re | 0.926314 | W | Power heating voice coil
Kms (X=0) | 0.048611 | 0.048611 | 1:07 | N/mm | mechanical stiffness of driver suspension at the rest position |  |  |  | P Mech | 0.141978 | W | ....
Bl (X=0) | 6:46 | 6:46 | 6:46 | N/A | (imported) force factor at the rest position (Bl product) |  |  |  | Irms | 0.27708 | A | rms value of the electrical input current
Sd | n/a |  |  |  | IMPORT Sd at Driver page to display Vas, N0, and Lm |  |  |  | Urms | 3124 | V | rms value of the electrical voltage at the transducer terminals
[9 empty] | Ipeak | 1294 | A | peak value of the electrical input current
[9 empty] | Upeak | 10635 | V | peak value of the electrical voltage at the transducer terminals
[9 empty] | Glarge (Gmax) | 18.6 (26.0) | dB | gain of the excitation amplitude increased in the large signal domain (maximum)
[9 empty] | Mech. system |  | abs. | import used to identify mechanical system in absolute quantities
[9 empty] | Xdc | 0:18 | mm | dc component of voice coil excursion measured in the last update intervall
[9 empty] | Xpeak | 3:29 | mm | positive peak value of voice coil excursion measured in the last update intervall
[9 empty] | Xbottom | -3.43 | mm | negative peak value (bottom) of voice coil excursion measured in the last update intervall
[9 empty] | Xp+ | 2:06 | mm | upper limit of displacement range (99% probability)
[9 empty] | Xp- | -2.3 | mm | lower limit of displacement range (99% probability)
[9 empty] | Xprot | 2:07 | mm | maximal voice coil excursion allowed by protection system
[9 empty] | v rms | 0:21 | m/s | voice coil velocity
Distortion
[9 empty] | Db | 2:09 | % | distortion factors representing contribution of nonlinear force factor
[9 empty] | Dl | 4:00 | % | distortion factor representing contribution of nonlinear inductance
[9 empty] | Dc | 10:08 | % | distortion factor representing contribution of nonlinear compliance
[9 empty] | D l(i) | 0:02 | % | distortion factor representing contribution of L(I) nonlinearity
Thermal
[9 empty] | R th total | 0.39722 | K/W | Delta Tv / P Re
Re | 0.25417 | Ohm | electrical voice coil resistance at DC
Le | 0.27569 | mH | frequency independent part of voice coil inductance
L2 | 0.4 | mH | para-inductance of voice coil |  |  | Electrical Parameters
R2 | 3:19 | Ohm | electrical resistance due to eddy current losses |  |  | Re | 0.25417 | Ohm | electrical voice coil resistance at DC
Cmes | 316:02 | �F | electrical capacitance representing moving mass |  |  | Le | 0.27569 | mH | frequency independent part of voice coil inductance
Lces | 34:33 | mH | electrical inductance representing driver compliance |  |  | L2 | 0.4 | mH | para-inductance of voice coil
Res | 28:54 | Ohm | resistance due to mechanical losses |  |  | R2 | 3:19 | Ohm | electrical resistance due to eddy current losses
fs | 48:03 | Hz | driver resonance frequency |  |  | Cmes | 316:02 | �F | electrical capacitance representing moving mass
[6 empty] | Lces | 34:33 | mH | electrical inductance representing driver compliance
Mechanical Parameters | [5 empty] | Res | 28:54 | Ohm | resistance due to mechanical losses
(using laser) | [5 empty] | fs | 48:03 | Hz | driver resonance frequency
Mms | 13168 | g | mechanical mass of driver diaphragm assembly including air load and voice coil
Mmd (Sd) | Sd missing | g | mechanical mass of voice coil and diaphragm without air load |  |  | Mechanical Parameters
Rms | 1460 | kg/s | mechanical resistance of total-driver losses |  |  | (using laser)
Cms | 0.57222 | mm/N | mechanical compliance of driver suspension |  |  | Mms | 13168 | g | mechanical mass of driver diaphragm assembly including air load and voice coil
Kms | 1:21 | N/mm | mechanical stiffness of driver suspension |  |  | Mmd (Sd) | Sd missing | g | mechanical mass of voice coil and diaphragm without air load
Bl | 6455 | N/A | force factor (Bl product) |  |  | Rms | 1460 | kg/s | mechanical resistance of total-driver losses
Lambda s | 0.043 |  | suspension creep factor |  |  | Cms | 0.57222 | mm/N | mechanical compliance of driver suspension
[6 empty] | Kms | 1:21 | N/mm | mechanical stiffness of driver suspension
Loss factors | [5 empty] | Bl | 6455 | N/A | force factor (Bl product)
Qtp | 0.31528 |  | total Q-factor considering all losses |  |  | Lambda s | 0.043 |  | suspension creep factor
Qms | 2738 |  | mechanical Q-factor of driver in free air considering Rms only
Qes | 0.37708 |  | electrical Q-factor of driver in free air considering Re only |  |  | Loss factors
Qts | 0.31458 |  | total Q-factor considering Re and Rms only |  |  | Qtp | 0.31528 |  | total Q-factor considering all losses
[6 empty] | Qms | 2738 |  | mechanical Q-factor of driver in free air considering Rms only
Other Parameters | [5 empty] | Qes | 0.37708 |  | electrical Q-factor of driver in free air considering Re only
Vas | Sd missing | l | equivalent air volume of suspension |  |  | Qts | 0.31458 |  | total Q-factor considering Re and Rms only
n0 | Sd missing | % | reference efficiency (2 pi-radiation using Re)
Lm | Sd missing | dB | characteristic sound pressure level (SPL at 1m for 1W @ Re) |  |  | Other Parameters
Lnom | Sd missing | dB | nominal sensitivity (SPL at 1m for 1W @ Zn) |  |  | Vas | Sd missing | l | equivalent air volume of suspension
[6 empty] | n0 | Sd missing | % | reference efficiency (2 pi-radiation using Re)
rmse Z | 3:29 | % | root-mean-square fitting error of driver impedance Z(f) |  |  | Lm | Sd missing | dB | characteristic sound pressure level (SPL at 1m for 1W @ Re)
rmse Hx | 0.1375 | % | root-mean-square fitting error of transfer function Hx (f) |  |  | Lnom | Sd missing | dB | nominal sensitivity (SPL at 1m for 1W @ Zn)
Series resistor | 0:00 | Ohm | resistance of series resistor |  |  | rmse Z | 3:29 | % | root-mean-square fitting error of driver impedance Z(f)
Sd | missing | cm� | diaphragm area |  |  | rmse Hx | 0.1375 | % | root-mean-square fitting error of transfer function Hx (f)
[6 empty] | Series resistor | 0:00 | Ohm | resistance of series resistor
[6 empty] | Sd | missing | cm� | diaphragm area